## ABHA address creation
S. No | Test Title | Test Scenario | Optional / Mandatory | Test Summary / Steps | Expected Result
1 | Registration Flow
1 | ABHA address creation with mobile number flow (Self Declared Flow - without KYC)
1.1 | Registration Flow : ABHA address creation with mobile number flow (Self Declared Flow - without KYC) | Click on "Register" to create a new ABHA address | Mandatory
1.2 |  | Select the "Mobile Number" option to create ABHA address via mobile number and click on "Continue" button | Mandatory
1.3 |  | Enter the mobile number and click on "Continue" button | Mandatory
1.4 |  | Validate mobile OTP received on entered mobile number | Mandatory | Check if an individual receives mobile OTP to validate mobile no | Mobile OTP shall receive on the entered mobile number to vaidate mobile no for creating ABHA address
1.5 |  | Resend mobile OTP after 60 seconds post clicking on "Resend OTP" | Mandatory | Check if an individual receive mobile OTP after 60 seconds and an individual is able to validate mobile no | Resend mobile OTP after 60 seconds, if first OTP is not yet received in an individual's mobile number. Vaidate mobile no to create ABHA address
1.6 |  | Display ABHA addresses linked with entered validated mobile number. So that an individul can select an ABHA address in which one wishes to login. | Mandatory | Check if all ABHA addresses linked to mobile no are displayed to select any one and login in PHR app | PHR app should search based on mobile number linked with ABHA address and display all such ABHA addresses to select any one and login
1.7 |  | Click on "Still want to create a new ABHA address" for creation a new ABHA address | Mandatory
1.8 |  | Fill following profile details such as: • First Name • Middle Name • Last Name • Date of Birth - Day, Month and Year • Gender • Address • State • District • Pin Code | Mandatory • First Name • Year (within Date of Birth) • Gender • Address • State • District • Pin Code Optional • Middle Name • Last Name • Day (within Date of Birth) • Month (within Date of Birth) | Check that an individual can create ABHA address only when mandatory fields are filled. | Display both mandatory and optional profile details to create self-declared ABHA address
1.9 |  | Click on checkbox beside "User Information Agreement" to voluntary share profile details with NHA for creating ABHA address and click on "Continue" button | Mandatory | Check if check box is selected beside user information agreement before clicking on "continue" button . | When an individual tries to create ABHA address for first time. Post clicking on checkbox beside user information agreement, an individual is able to register successfully.
1.1 |  | Create ABHA address as per ABHA address policy. ABHA address policy: Minimum length 8 including alphabet, number & dot (.) are allowed. Number cannot be in beginning and dot (.) cannot be in beginning & end. | Mandatory | Check that adherence to ABHA address policy is must to create ABHA address. | Same entered ABHA address is successfully created to login in PHR app.
1.11 |  | Suggestions to create ABHA address as per an individual's name & username of e-mail ID needs to be displayed while creating it. | Optional | Check if suggestions of ABHA address are displayed while creating it. Display "already taken" if entered ABHA address is already created by some other individual. Because no two ABHA address can be same. | ABHA addresses are suggested as per an individual's name, username of e-mail ID
1.12 |  | Create password, confirm password and click on "Submit" button. Password needs to be created as per password policy. Password policy: 8 characters or longer, one A-Z, one a-z, one 0-9, atleast one symbol, no space and not more than 2 consecutive characters or keyboard keys. | Mandatory | Check that adherence to password policy is must to create ABHA address. | Password is successfully created to login in PHR app using login via ABHA address flow
1.13 |  | Congratulation Screen is displayed stating "Congratulations! ABHA address is created successfully " and click on "Login" button | Mandatory | Check that congratulations message is displayed after creating ABHA address & password. Also, an individual should able to login with updated ABHA address and password. | An individual should able to login with updated ABHA address and password.
1.14 |  | Provide Consent after clicking on login button. Click on "I Agree" against "Personal Data Processing Consent Form". Post this user is able to successfully Login | Mandatory | Check that when an individual login for first time, post agreeing to the "Personal Data Processing Consent Form" an individual is able to login. | Post agreeing to "Personal Data Processing Consent Form", an individual can login.
2 | Registration Flow : ABHA address creation with ABHA number flow
2.1 | Registration Flow : ABHA address creation with ABHA number flow (KYC verified flow) | Click on "Register" to create a new ABHA address | Mandatory
2.2 |  | Select the "ABHA number" option to create ABHA address via ABHA number and click on "Continue" button | Mandatory
2.3 |  | Enter the 14 - digit ABHA number and click on "Continue" button | Mandatory
2.4 |  | Validate ABHA number by entering Aadhaar OTP/mobile OTP received on mobile number linked with entered ABHA number. | Mandatory | Check if an individual receives Aadhaar OTP/mobile OTP and able to validate the ABHA no. | Aadhaar OTP/mobile OTP shall receive on the mobile no linked with entered ABHA no. Vaidate ABHA no for creating ABHA address
2.5 |  | Resend Aadhaar OTP / mobile OTP after 60 seconds. | Mandatory | Check if an individual receive Aadhaar OTP / mobile OTP after 60 seconds and an individual is able to validate the ABHA no by entering the OTP. | Resend Aadhaar OTP / mobile OTP after 60 seconds, if first OTP is not yet received in an individual's mobile no. Vaidate ABHA no to create ABHA address
2.6 |  | Display ABHA addresses linked with entered validated ABHA number. So that an individul can select an ABHA address in which one wishes to login. | Mandatory | Check if all ABHA addresses linked to ABHA no are displayed to select any one and login in PHR app | PHR app should search based on ABHA no linked with ABHA address and display all such ABHA addresses to select any one in which an individua wishes to login
2.7 |  | Click on "Still want to create a new ABHA address" for creation a new ABHA address | Mandatory
2.8 |  | Following profile details are auto-populated from ABHA portal: • First Name • Middle Name • Last Name • Date of Birth - Day, Month and Year • Gender • Mobile number • Address • State • District • Pin Code | Mandatory • Full Name (First Name, Middle Name and Last Name) • Year (within Date of Birth) • Gender • Mobile Number • Address • State • District • Pin Code Optional • Day (within Date of Birth) • Month (within Date of Birth) • Email ID | Check that all profile details are popultated from ABHA side to PHR app. | Display both mandatory and optional profile details to create KYC verified ABHA address
2.9 |  | Click on checkbox beside "User Information Agreement" to voluntary share profile details with NHA for creating ABHA address and click on "Continue" button | Mandatory | Check if check box is selected beside user information agreement before clicking on "continue" button . | When an individual tries to lcreate ABHA address for first time. Post clicking on checkbox beside user information agreement, an individual is able to successfully register in PHR app.
2.1 |  | Create ABHA address. ABHA address needs to be created as per ABHA address policy ABHA address policy: Minimum length 4 including alphabet, number & dot (.) are allowed. Number cannot be in beginning and dot (.) cannot be in beginning & end. | Mandatory | Check that adherence to ABHA address policy is must to create ABHA address. | Same entered ABHA address is successfully created to login in PHR app.
2.11 |  | Suggestions to create ABHA address as per an individual's name & username of e-mail ID needs to be displayed while creating it. | Optional | Check if suggestions of ABHA address are displayed while creating it. Display "already taken" if entered ABHA address is already created by some other individual. Because no two ABHA address can be same. | ABHA addresses are suggested as per an individual's name & username of e-mail ID
2.12 |  | Create password, confirm password and click on "Submit" button. Password needs to be created as per password policy. Password policy: 8 characters or longer, one A-Z, one a-z, one 0-9, atleast one symbol, no space and not more than 2 consecutive characters or keyboard keys. | Mandatory | Check that adherence to password policy is must to create ABHA address. | Password is successfully created to login in PHR app using login via ABHA address flow
2.13 |  | Congratulation Screen is displayed stating "Congratulations! ABHA address name@abdm is created successfully " and click on "Login" button | Mandatory | Check that congratulations message is displayed after creating ABHA address & password. Also, an individual should able to login with updated ABHA address and password. | An individual should able to login with updated ABHA address and password.
2.14 |  | Click on "I Agree" against "Personal Data Processing Consent Form". Post this user is able to successfully Login | Mandatory | Check that when an individual login for first time, post agreeing to the "Personal Data Processing Consent Form" an individual is able to login. | Post agreeing to "Personal Data Processing Consent Form", an individual can login.
3 | ABHA number creation with KYC
3.1 | ABHA number creation with KYC such as Aadhaar, DL, etc. Suppose an individual is creating ABHA number using Aadhaar as KYC | Click on "Create Now Aadhaar Number " to Create ABHA Number | Mandatory
3.2 |  | Click on option (Aadhaar / DL) through which an individual wants to create the ABHA no. Suppose an individual select Aadhaar as an option to create the ABHA no. Ensure that Aadhaar is linked to mobile no as Aadhaar OTP authentication is needed to create ABHA no with Aadhaar flow. | Mandatory
3.3 |  | 1- Enter your 12-digit Aadhaar Number Format: XXXX XXXX XXXX (e.g., 1234 5678 9012) 2 - Click the “Continue” button on the website or form where you're entering the number. | Mandatory | Check that Aadhaar OTP is received on mobile no linked with Aadhaar
3.4 |  | The user will receive an OTP on their Aadhaar-linked mobile number. This OTP, along with the communication mobile number, must be submitted to proceed. Upon successful verification, the user's demographic details will be retrieved. | Mandatory | Check that validation of Aadhaar no is successful after entering the correct Aadhaar OTP | Aadhaar no is successfully validated using Aadhaar OTP
3.5 |  | Resend Aadhaar OTP after 60 seconds. | Mandatory | Check if an individual receive Aadhaar OTP after 60 seconds and an individual is able to validate the ABHA no by entering the OTP. | Resend Aadhaar OTP after 60 seconds, if first OTP is not yet received in an individual's mobile no linked with Aadhaar. Vaidate ABHA no to create ABHA address
3.6 |  | Following profile details are auto-populated from ABHA portal: • User Picture • First Name • Middle Name • Last Name • Date of Birth - Day, Month and Year • Gender • Mobile number • Address • State • District • Pin Code • ABHA Number • Exiting ABHA Address | Note - : When the user is identified as new, the ABHA address should not be shown. Instead, either the field should be hidden or marked as 'N/A'.
3.7 |  | Click on "Exiting ABHA Address"
3.8 |  | The ABHA number card is generated using your Aadhaar demographic information. Click on "Download ABHA Number Card" to download your card. All details in the ABHA number card are based on your Aadhaar KYC | Mandatory | Check that ABHA number card is created and it can also be downloaded. Also, check that all information in card is as per Aadhaar KYC. | ABHA number is created using Aadhaar demographic details as KYC
3.9 | Second Flow Another Mobile no | Enter XXXXXXXXXXXX - digit Aadhaar No and click on "Continue" button"
3.1 |  | 1 - The user will receive an OTP, which must be submitted along with the communication mobile number. 2 - An OTP will also be sent to the alternate mobile number, which must be used to verify that number.
3.11 |  | Resend Aadhaar OTP after 60 seconds.
3.12 |  | Following profile details are auto-populated from ABHA portal: • User Picture • First Name • Middle Name • Last Name • Date of Birth - Day, Month and Year • Gender • Mobile number • Address • State • District • Pin Code • ABHA Number • Exiting ABHA Address
3.13 |  | Click on "Still want to create a new ABHA address?"
3.14 |  | Create ABHA address. ABHA address needs to be created as per ABHA address policy ABHA address policy: Minimum length 4 including alphabet, number & dot (.) are allowed. Number cannot be in beginning and dot (.) cannot be in beginning & end. | Mandatory | Check that adherence to ABHA address policy is must to create ABHA address. | Same entered ABHA address is successfully created to login in PHR app.
3.15 |  | Suggestions to create ABHA address as per an individual's name & username of e-mail ID needs to be displayed while creating it. | Optional | Check if suggestions of ABHA address are displayed while creating it. Display "already taken" if entered ABHA address is already created by some other individual. Because no two ABHA address can be same. | ABHA addresses are suggested as per an individual's name & username of e-mail ID
3.16 |  | The ABHA number card is generated using your Aadhaar demographic information. Click on "Download ABHA Number Card" to download it. All details on the card are based on your Aadhaar KYC. | Mandatory | Check that ABHA number card is created and it can also be downloaded. Also, check that all information in card is as per Aadhaar KYC. | ABHA number is created using Aadhaar demographic details as KYC
4 | Login Flow
4.1 | Login with mobile number flow
4.2 | Login with mobile number flow | Enter mobile number linked with ABHA address | Mandatory
4.3 |  | Validate mobile number via mobile OTP | Mandatory | Check if an individual receives mobile OTP and able to login with mobile no | An individual shall validate entered mobile number by entering mobile OTP. Vaidate mobile no to login in PHR app
4.4 |  | Resend Mobile OTP after 60 seconds post clicking on "Resend OTP". | Mandatory |  | Resend mobile OTP after 60 seconds, if first mobile OTP is not yet received to an individual's mobile.Vaidate mobile no to login in PHR app
4.5 |  | Display ABHA addresses linked with entered validated mobile number. So that an individul can select an ABHA address in which one wishes to login. | Mandatory |  | PHR app should search based on mobile number linked with ABHA address and display all such ABHA addresses to select any one and login
5 | Login with e-mail ID flow (Optional )
5.1 | Login with e-mail ID flow | Enter e-mail ID linked with ABHA address | Optional
|  | Validate e-mail ID via e-mail OTP | Optional | Check if an individual receive email OTP and login with e-mail OTP | An individual shall validate entered e-mail ID by entering e-mail OTP. Vaidate e-mail ID to login in PHR app
5.2 |  | Resend e-mail OTP after 60 seconds post clicking on "Resend OTP" | Optional | Check if an individual receive email OTP after 60 seconds and login with e-mail OTP | Resend e-mail OTP after 60 seconds, if first e-mail OTP is not yet received to an individual's e-mail ID.Vaidate e-mail ID to login in PHR app
5.3 |  | Display ABHA addresses linked with entered validated e-mail ID. So that an individul can select an ABHA address in which one wishes to login. | Optional | Check if all ABHA addresses linked with entered email ID are displayed and an individual is able to login in selected ABHA address | PHR app should search based on e-mail ID linked with ABHA address and display all such ABHA addresses to select any one and login
6 | Login with easy to remember ABHA address flow
6.1 | Login with easy to remember ABHA address (name@abdm) flow | Enter easy to remember ABHA address - name@abdm | Mandatory
6.2 |  | Validate ABHA address via password / mobile OTP / Aadhaar OTP as per auth mode | Mandatory | Check if an individual is able to login with easy to remember ABHA address via password | Post validation of ABHA address via password, an individual is able to successfully login
6.3 |  |  | Mandatory | Check if an individual is able to login with easy to remember ABHA address via mobile OTP / e-mail OTP / Aadhaar OTP as per auth mode | Post validation of ABHA address via OTP, an individual is able to successfully login
6.4 |  | Resend Aadhaar OTP / mobile OTP after clicking on "Resend OTP" | Mandatory | Check if an individual receive Aadhaar OTP / mobile OTP/e-mail OTP after 60 seconds and an individual is able to login post validation of ABHA address | Resend Aadhaar OTP / mobile OTP/e-mail OTP after 60 seconds, if first OTP is not yet received.Vaidate ABHA address via Aadhaar OTP / mobile OTP/e-mail OTP to login in PHR app
7 | Login with default ABHA address flow
7.1 | Login with default ABHA address (14-digit@abdm) flow | Enter default ABHA address such as 14-digit@abdm | Mandatory
7.2 |  | Validate ABHA address via mobile OTP / Aadhaar OTP | Mandatory | Check if Aadhaar OTP / mobile OTP is received and post validation of ABHA number, an individual is able to successfully login | Post validation of ABHA address, an individual is able to successfully login
7.3 |  | Resend Aadhaar OTP / mobile OTP after clicking on "Resend OTP" | Mandatory | Check if an individual receive Aadhaar OTP / mobile OTP after 60 seconds and an individual is able to login post validation of ABHA address | Resend Aadhaar OTP / mobile OTP after 60 seconds, if first OTP is not yet received.Vaidate ABHA address via Aadhaar OTP / mobile OTP to login in PHR app
8 | Login with ABHA number flow
8.1 | Login with ABHA number flow | Enter 14 digit ABHA number | Mandatory
8.2 |  | Validate ABHA number via Aadhaar OTP / mobile OTP | Mandatory | Check if Aadhaar OTP / mobile OTP is received and post validation of ABHA number, an individual is able to successfully login | Post validation of ABHA number, an individual is able to successfully login
8.3 |  | Resend Aadhaar OTP / mobile OTP after clicking on "Resend OTP" | Mandatory | Check if an individual receive Aadhaar OTP / mobile OTP after 60 seconds and an individual is able to login post validation of ABHA number | Resend Aadhaar OTP / mobile OTP after 60 seconds, if first OTP is not yet received.Vaidate ABHA number via Aadhaar OTP / mobile OTP to login in PHR app
9 | Login with Aadhaar number flow
9.1 | Login with Aadhaar number flow | Enter 12 digit Aadhaar number | Mandatory
9.2 |  | Validate Aadhaar number via Aadhaar OTP | Mandatory | Check if Aadhaar OTP / mobile OTP is received and post validation of Aadhaar number, an individual is able to successfully login | Post validation of Aadhaar number, an individual is able to successfully login
9.3 |  | Once OTP is validated, the apk will display the 'terms & conditions'** along with the list of abha addresses associated with that aadhaar | Mandatory | Check if an individual receive Aadhaar OTP / mobile OTP after 60 seconds and an individual is able to login post validation of ABHA number | Resend Aadhaar OTP / mobile OTP after 60 seconds, if first OTP is not yet received.Vaidate ABHA number via Aadhaar OTP / mobile OTP to login in PHR app
10 | Reset Password
10.1 | Reset Password | Login with any mode - mobile number / default ABHA address / easy to remember ABHA address / ABHA number /Aadhaar | Mandatory | Check if password can be updated by an individual post login with any mode | Post login in PHR app with any of the modes. An individual can reset the password.
10.2 |  | Post successful login, click on reset password withing setting of the menu bar | Mandatory
10.3 |  | Create password as per password policy. Password policy: 8 characters or longer, one A-Z, one a-z, one 0-9, atleast one symbol, no space and not more than 2 consecutive characters or keyboard keys. | Mandatory | Check if password is created as per password policy | Password is created successfully as per password policy.
10.4 |  | Confirm password | Mandatory | Check new password is created only after same password is confirmed again | Confirm the same password by re-entering it again to create the password
10.5 |  | A message is displayed called "Your password is successfully changed" | Mandatory | Check if an individual new password is created by login with new password | Post creation of new password, password shall change and an individual can login with new password.

## PHR App Functionality
S. No | Test Title | Test Scenario | Test Summary/Test Steps | Optional / Mandatory | Expected Result
Health Facility records linking flow: individual initiated linking (Complete Discovery, linking and fetching of records flow ) - Check, if individual is able to link new provider (visited facility), fetch record and view record
1 | Health and Facility records linking: User initiated linking flow (Discovery Flow) - Complete Discovery of HIP, linking, fetching and viewing of records in PHR app |  |  | Mandatory
1.1 | Link HIP | After Login : Click on "Link my Health Records" tab in "My Records" tab | Click on "Link my Health Records" tab / "+" symbol in "Linked Facility" tab to search records in HIP | Mandatory | Patient will be directed to next screen to search HIP after clicking on "Link my Health Records" tab / "+" symbol in "Linked Facility" tab
1.2 | Discover HIP | Search HIP 's such as hospital, clinic, lab to discover them based on typed string by the individual | When individual will search the visited facilty (HIP), the entire facilty name with complete address will be discovered by the individual. This "Search" is based on string, i.e HIP name entered by the patient in the search bar of PHR app. | Mandatory | Patient should be able to search ABDM compliant facility using PHR app
1.3 | Display of patient details | After searching facility: The details visible to patient on the PHR app are: 1. Verified mobile number 2. ABHA address 3. ABHA number 4. Patient ID 5. Full Name 6. Year of Birth 7. Gender | Details of Patient will be visible when individual search for the HIP in PHR app while user initiated linking flow | Mandatory | Details of HIP should be visible once individual search for HIP
1.4 | Fill Patient ID (Optional) | This customizable lable is 1. Patient ID - In case of linking health records created at health facility. 2. This field is optional for patient to enter. | Check, if exact match of record is found after entering correct Patient ID | Mandatory | Patient can use this in customized way as per search
1.5 | Matching of API specifications to link record | Click on "Fetch Records" After matching following fields, records will be fetched from facility (HIP) to PHR app 1. Name (Mandatory) 2. Year of Birth (Mandatory) 3. Gender (Mandatory) 4. Mobile Number (Mandatory) 5. Patient ID (Optional) | Ensure that already linked care context should not be discovered in PHR mobile app. If all care context of discovered facilty are already linked, then display message called "All your existing records are linked. No additional records availaible for linking" | Mandatory | Already linked care-context should not be discovered in the response.
|  |  | Ensure that the linked care context is shown in the "Linked Facility" tab of the PHR mobile app | Mandatory | Linked care context will be discovered in "Linked Facilty" tab
1.6 | Link records | Display of records details like HI type | Display of all correct details of records, after matching of API specifications | Mandatory | Display of all correct details of records for the purpose of linking
|  |  | Select the record which patient wants to link and click on "Link Selected" | Mandatory | Only the selected record is linked and not selected one is not linked
1.7 | Fill mobile OTP received to complete linking of record . | Mobile OTP will be received once individual clicks on fetch records. After successful validation of OTP, display message called “Records are successfully linked”. This OTP is sent by HIP to the patient's mobile. | Fill mobile OTP for successful linking of facility Error message display, for following scenarios : Scenario 1: If there is Communication Gap, between HIP and individual – Due to some technical issue at HIP end like if server is down then, error message is displayed as “Couldn’t Connect: We are sorry. Unable to contact your hospital. Please try again later” Scenario 2: If individual have never visited the hospital – An error message is displayed as “No health records found” Scenario 3: Records of all visits are already linked and there is nothing new to link - – An error message is displayed as “No new health record to link: Records of all visits are already linked and there is nothing new to link” | Optional | 1. OTP will be received when individual clicks on fetch records, after matching of API specifications. 2. Specific error message is displayed as mentioned in test summary / steps
1.8 | Linked facility will be visible in "Linked Facility" tab. Click on "Pull Records" button to fetch and view records. | Ensure that the patient's health-records are getting fetched | 1. Check that PHR app sends data transfer request to HIP within 5 minutes after an individual click on "Pull Records" button 2. Ensure that the patient health records are fetched within 2 hours in the PHR mobile app | Mandatory | Health-records should be fetched in the app.
|  |  | Ensure that the patient's health-records are fetched without ERRORED | Mandatory
1.9 | Display message regarding fetching of records may take time in "My Records" tab | 1. Keep "I" button in "My Records", so that message is displayed regarding fetching of records may take time when patient hovers over i button. 2. Check that proper error or status message will be displayed if records are taking time in fetching. For e.g. Refresh to fetch record, Data fetch in progress etc.. | Since, fetching of records take time. Display message called "Recently linked records might take some time to show" when patient hover over "i button" in "My Records" tab. | Optional | 1. Display message when an individual hover over I button 2. Status message should be displayed in case records takes time to fetch
1.1 | Records will be displayed in "My Records" tab. Click on the attached report to view the health record. | After clicking on record: Details of health record will be displayed alongwith an attachment consisting of record | Details of health record included structured data such as 1. Facility Name 2. Visit type 3. Prescribed By 4. Date and Time | Optional | Health record details should be visible
1.11 | View record in mobile device | Record will open when individual clicks on the attachment consisting health record | Records will open in the device and patient can view it | Optional | Records should open
Health Programme records linking flow: individual initiated linking and fetching of records flow - Check, if individual is able to link new provider (health programme such as CoWIN, AB-PMJAY etc), fetch record and view record
2 | Health Programme records linking, fetching and viewing of records: User initiated linking (Discovery Flow) |  |  | Mandatory
2.1 | Link Programme | After Login : Click on "Link my Health Records" tab in "My Records" section | Click on "Link my Health Records" tab / "+" symbol in "Linked Facility" tab to search records in HIP | Mandatory | Patient will be directed to next search screen
2.2 | Select Health Programme | Select programme name whose record patient wants to link, fetch and view in PHR app. Currently, government health programmes such as "CoWIN", "AB-PMJAY", e-Sanjeevani OPD, e-Sanjeevani HWC, RCH programme. Going forward, other health programmes will also integrate with PHR app | Check, if patient is able to select the integrated government health programme with the PHR app | Mandatory | Select integrated government health programme with the PHR app.
2.3 | Display of patient details | After clicking on programme name, the details visible to patient are: 1. Verified mobile number 2. ABHA address 3. ABHA number 4. CoWIN registered mobile no (Customizable Label - Optional) 5. Full Name 6. Year of Birth 7. Gender | In User initiated linking (Discovery Flow), details of patient will be visible when individual select government health programme in PHR app | Mandatory | Patient details should be visible after selecting government health programme in PHR app
2.4 | Fill PM-JAY ID (Optional) | This customizable lable is 1. PMJAY ID - In case of linking health records from AB-PMJAY programme 2. CoWIN Registered Mobile No - In case of linking health records from CoWIN | Check, if exact match of patient records are found, after entering correct PMJAY ID / CoWIN registered mobile number | Mandatory | Patient can use this in customized way as per search
2.5 | Matching of API specifications | Click on "Fetch Records" After matching following fields, records will be fetched from programme to PHR mobile app 1. Name (Mandatory) 2. Year of Birth (Mandatory) 3. Gender (Mandatory) 4. Mobile Number (Mandatory) 5. Patient ID (Optional) | Ensure that already linked care context should not be discovered in PHR mobile app. If all care context of selected government health programme are already linked, then display message called "All your existing records are linked. No additional records availaible for linking" | Mandatory | Already linked care-context should not be discovered in the response
|  |  | Ensure that the linked care context is shown in the "Linked Facility" tab of the PHR mobile app | Mandatory | Linked care context will be discovered in "Linked Facilty" tab
2.6 | Link records | Display of records details such as Dose 1, Dose 2 and Dose 3 (Precautionary dose) in case of CoWIN programme. | Display of all correct details of records, after matching of API specifications | Mandatory | Display of all correct details of records for the purpose of linking
|  |  | Select the record which patient wants to link and click on "Link Selected" | Mandatory | Only the selected record is linked and not selected one is not linked
2.7 | Fill mobile OTP received to complete linking of record . | Mobile OTP will be received once individual clicks on fetch records. After successful validation of OTP, display message called “Records are successfully linked”. This OTP is sent by government health programme to the patient's mobile. | Fill mobile OTP for successful linking of facility Error message display, for following scenarios : Scenario 1: If there is Communication Gap, between programme (HRP) and individual – Due to some technical issue at HRP end like if server is down then, an error message is displayed as “Couldn’t Connect: We are sorry. Unable to contact your health programme. Please try again later” Scenario 2: If individual is not enrolled or do not have any records after enrolling – An error message is displayed as “No health records found” Scenario 3: Records of all visits are already linked and there is nothing new to link - – An error message is displayed as “No new health record to link: Records of all visits are already linked and there is nothing new to link” | Optional | 1. OTP will be received when individual clicks on fetch records, after matching of API specifications. 2. Specific error message is displayed as mentioned in test summary / steps
2.8 | Linked programme will be visible in "Linked Facility" tab. Click on "Pull Records" button to fetch and view records | Ensure that the patient's health-records are getting fetched | 1. Check that PHR app sends data transfer request to HIP within 5 minutes after an individual click on "Pull Records" button 2. Ensure that the patient health records are fetched within 2 hours in the PHR mobile app | Mandatory | Health-records should be fetched in the PHR mobile app.
|  |  | Ensure that the patient's health-records are fetched without ERRORED | Mandatory
2.9 | Display message regarding fetching of records may take time in "My Records" tab | 1. Keep "I" button in "My Records", so that message is displayed regarding fetching of records may take time when patient hovers over i button. 2. Check that proper error or status message will be displayed if records are taking time in fetching. For e.g. Refresh to fetch record, Data fetch in progress etc.. | Since, fetching of records take time. Display message called "Recently linked records might take some time to show" when patient hover over "i button" in "My Records" tab. | Optional | 1. Display message when an individual hover over I button 2. Status message should be displayed in case records takes time to fetch
2.1 | Records will be displayed in "My Records" tab. Click on the attached report to view the health record. | After clicking on record: Details of health record will be displayed alongwith an attachment consisting of record | Details of health record included structured data such as 1. Facility Name 2. Visit type 3. Prescribed By 4. Date and Time | Optional | Health record details should be visible
2.11 | View record in mobile device | Record will open when individual clicks on the attachment consisting health record | Records will open in the device and patient can view it | Optional | Records should open
HIP initiated linking flow - When health records are linked with ABHA address at the health facility / health programme.
3 | Post linking of health records with ABHA address by the HIP with patient consent, the individual can view the health records on the PHR mobile app | Health data will be visible in PHR app once HIP link health records with the ABHA address. | Once Individual visits the hospital. • ABHA address is shared with the health programme / health facility • Individual validates the ABHA address with the mobile OTP • Post linking of health records with ABHA address by the HIP, the individual can open any PHR app and click on "Pull Records" button against the visited health programme / health facility, where the record is created and linked to ABHA address to view the record in mobile device. | Mandatory | Health records should be linked, fetched and viewed in PHR app
Sharing of health records with patient's consent to the HIU
4 | HIU should be able to view the health data of a APPROVED consent request | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DiagnostocReport Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DiagnostocReport Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Prescription-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Prescription-Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DischargeSummary-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DischargeSummary-Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = CosultingNote-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | "Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = CosultingNote-Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Immunization record-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Immunization record-Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Wellness Record-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Wellness Record-Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Health Record-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Health Record-Un-Structured) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Check whether HIU individual is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Invoice - Structured ) | Mandatory | HIU individual should be able to view the health data of selected HI type from PHR app or HIU application.
|  | HI type for invoice is not in unstructured format according to NRCHS guideline only structured | HI type for invoice is not in unstructured format according to NRCHS guideline only structured. | NA | https://www.nrces.in/ndhm/fhir/r4/StructureDefinition-InvoiceRecord.html
Scan QR Code
5 | Scan QR Code for express patient registration
5.1 | Scan QR Code using PHR app for sharing patient profile to HIP
5.1.1 | HIP scans the QR code from patient's PHR app | "QR Code" is visible in the "Profile" of the patient's PHR app. HIP scan this QR Code, so that patient's profile is shared with the HIP with consent of the patient. Post scanning, patient profile details are displayed including ABHA number, ABHA address, Name, Gender, DoB, Mobile No and Address. Below this consent language is displayed - "You consent to the above information to be shared with <HIP Name>. They can use this information for your registration and linking your health records" and both "Cancel" / "Share" buttons are provided | 1. Check, if HIP/HIU is able to scan QR Code from the patient's profile in the PHR app for express patient registration. HIP/HIU should be able to scan the QR code within 10 seconds. 2. Check, that post scanning the QR Code following fields are displayed - Share your details with <HIP Name> - ABHA number - ABHA address - Name - Gender - Date of Birth - Mobile No - Address 3. Consent language is displayed 4. Both "Cancel" and "Share" buttons are provided. | Mandatory | HIP/HIU should be able to scan the QR code within 10 seconds. Thereafter patient can see profile details, consent language and then decide to either share or cancel the profile details.
5.1.2 |  | 1. Post patient click on "Share" button, profile details are shared successfully to the HMIS of HIP for express patient registration. Also, a notification is received in PHR app confirming that profile details are shared with HIP/HIU. 2. Post patient click on "Cancel" button, profile details are not shared with HIP/HIU | 1. After patient click on "Share" button, profile details are shared successfully to the HMIS system. 2. After patient click on "Share" button, a notification is received in PHR app called "Successfully shared your details with <HIP Name>" with "OK" button. | Mandatory | Patient profile details in PHR app are shared successfully with the HMIS of HIP/HIU with patient's consent.
5.1.3 | Individual scans the HIP QR code at the facilty registration counter using PHR app | Click on "Scan" in the individuals "Profile" in the PHR app to scan QR code at the facility registration counter, confirm details and share details to the facility | Check, if individual is able to register by scanning QR code at the counter of the facility through PHR app | Mandatory | Consent is received on PHR app to share the details
5.2 | Scan QR Code using phone camera or any other 3rd party QR scanner for sharing patient profile to HIP
5.2.1 | Scan QR Code using phone camera or any other 3rd party QR scanner Use Case 1: ABDM compliant PHR application is already installed in user's phone | If user is not logged-on in the PHR app | Check that post scanning the QR code, the user sees a pop-over list of all the PHR apps installed in his phone. User may select any application from this list and opens that application. | Mandatory | Once the user selected the PHR application from the pop-up list, the PHR app will launch.
5.2.2 |  |  | Check, that if user is not already logged-on in the PHR app then user will be redirected to login page. |  | Post selecting PHR app, user will be redirected to the login page.
5.2.3 |  |  | Check that post login, user will be redirected to share profile page. |  | After the successful login, user will be redirected to the share profile page.
5.2.4 |  |  | Check that after clicking on "Share" button, user profile is successfully shared with the HIP and if user click on "Cancel" button then user profile is not shared with the HIP. |  | Post clicking on "Share" button, user profile is successfully shared with the HIP and if user click on "Cancel" button then user profile is not shared with the HIP.
5.2.5 |  | If user is already logged-on in the PHR app: | Check that post scanning the QR code, the PHR app in which user is already logged-on is selected by user and the application launches. | Mandatory | Once the user selected application launches,
5.2.6 |  |  | Check that post login, user will be redirected to share profile page. |  | User will be redirected to the share profile page.
5.2.7 |  |  | Check that after clicking on "Share" button, user profile is successfully shared with the HIP and if user click on "Cancel" button then user profile is not shared with the HIP. |  | Post clicking on "Share" button, user profile is successfully shared with the HIP and if user click on "Cancel" button then user profile is not shared with the HIP.
5.2.8 | Scan QR Code using phone camera or any other 3rd party QR scanner. Use Case 2: ABDM compliant PHR application is not installed in user's phone. | In case ABDM compliant PHR application is not installed in PHR app, then user is redirected to download and install it from play store/app store. | Check that post scanning the QR code, user sees a browser from where he/she would be redirected to a User Initiated Deep link web page. | Mandatory | After scanning the QR code, the user sees a browser from where he/she would be redirected to a User Initiated Deep link web page.
5.2.9 |  |  | Check that deep link web page has all ABDM compliant PHR apps such as ABHA, Dreifcase, Raxa, Eka Care, Pay TM, Arogya Setu, etc. Going forward, other PHR app's will also add up to this list. User can select any one of the PHR app of his/her choice. Then, user would then be redirected to the respective application’s play store or App store page to install the app. | Mandatory | This webpage will show the list of all the ABDM compliant PHR applications, from where the user has an option to select any application of his choice. User will be redirected to the play store / app store to install the PHR app
5.2.10 |  |  | Check that once the app is installed, the user may register/login and then would be redirected to the share profile page. | Mandatory | User is able to create ABHA address and Password. Then redirect to share profile page.
5.2.11 |  |  | Check that after clicking on "Share" button, user profile is successfully shared with the HIP and if user click on "Cancel" button then user profile is not shared with the HIP. | Mandatory | Post clicking on "Share" button, user profile is successfully shared with the HIP and if user click on "Cancel" button then user profile is not shared with the HIP.
Display Profile Details with status as KYC Verified / Self-Declared
6 | Showing individual's profile details in the PHR app | Individual's profile is displayed in the PHR app with their status such as KYC verified and Self-Declared. | Display all profile details filled to the individual, when individual click on "Profile" after Login. Also, display "KYC Verified" with green tick mark for those profiles where ABHA address is linked with ABHA number. Display "Self Delared" with exclaimation mark for those profiles where ABHA address is not linked with ABHA number. ABHA number is visible in "KYC verified" profile and ABHA number is not visible in "Self-Declared" profile. | Mandatory | Patient profile details are displayed in the PHR app with their status such as KYC verified and Self-Declared.
Download ABHA address card in the PDF format
7 | Download ABHA address card | Post clicking on "QR Code" icon, an individual can scan QR Code, share ABHA address card and download ABHA address card | Following fields will be displayed in the ABHA address card 1) Profile Photo 2) Full Name 3) ABHA number - It will be displayed if, 14-digit Health ID number is linked to the ABHA address. ABHA number is displayed as XX-XXXX-XXXX-3421 (Hide starting 12 digits of ABHA number) 4) ABHA address - It will be displayed as XXXXam@abdm (Hide starting alphabets of ABHA address) 5) QR Code 5) Date of Birth 6) Gender 7) Mobile Number - It will be displayed as XXXXXX2278 (Hide starting 6 digits of ABHA number) | Mandatory | Individual is able to share / download the ABHA address card in device and profile details are displayed in it. ABHA no, ABHA address and mobile no
Tabs in PHR app (My Records/Linked Facility/Consents)
9 | "Requests" Section within "Consents" tab of PHR app:
9.1 | "Requests" section in the "Consents" tab of PHR app | 1) Requested - Not yet any action is taken by individual on consent request received from HIU to PHR app. | All request (consent / subscription / locker) sent by HIU to patiet are seen in "Requested" dropdown within "Requests" section of PHR app | Mandatory | All request on which action is not yet taken by patient are displayed in "Requested". Patient health record should not be shared with HIU if patient has not acted on consent request received.
9.2 |  | 2) Denied - Individual have "Denied" consent request received from HIU to PHR app. | All denied request (consent / subscription / locker) by patient are seen in "Denied" dropdown within "Requests" section of PHR app. | Mandatory | All request which are denied by patient are displayed in "Denied". Patient health record should not be shared with HIU if consent is denied by patient
9.3 |  | 3) Expired - Requests is expired because patient have not acted on consent request received in PHR app within the time duration set by HIU | All expired request (consent / subscription / locker) by patient are seen in "Expired" dropdown within "Requests" section of PHR app. | Mandatory | All request which are expired by individual are displayed in "Expired". Patient health record should not be shared with HIU if consent is expired by patient
10 | "Approved" Section within "Consents" tab of PHR app:
10.1 | "Approved" section in the "Consents" tab of PHR app | 1) Granted - Patient had granted the consent request received from HIU to PHR app | All granted request (consent / subscription / locker) by patient are seen in "Granted" dropdown within "Approved" section of PHR app. | Mandatory | All request which are granted by patient are displayed in "Granted". Patient health record are successfully shared with HIU if consent is granted by patient
10.2 |  | 2) Revoked - Patient had revoked consent requests after granting it in PHR app. | All revoked request (consent / subscription / locker) by patient are seen in "Revoked" dropdown within "Approved" section of PHR app. | Mandatory | All request which are revoked by patient are displayed in "Revoked". Patient health record are successfully shared with HIU if consent is granted by patient.
11 | "My Records" tab : Fetching of health records into "My Records" tab , post linking of health records with ABHA address
11.1 | View patient helth records in "My Records" tab of PHR app | To view records, post linking and fetching from healthcare providers (health locker, health facility and health programme) | Click on record fetched in the "My Records" tab | Mandatory | Record details are displayed after clicking on record
11.2 |  |  | Details of records are viewed with attachment | Mandatory | All details of record like HI type, Date, Time, Name of Doctor/Facilty are displayed
11.3 |  |  | Click on the attachment to view the health record / report in the device | Mandatory | Able to view the health record
12 | "Linked Facility" tab: All linked providers (health locker, health facility and health programme) are listed in this tab.
12.1 | "Linked Facility" tab in PHR app | Linked providers includes health lockers, health facility and health programme | Ckeck, list of all linked providers are displayed and "Pull Record" button is against each one of them. So that patient can click on it to fetch and view record in "My Records" tab. | Mandatory | All linked providers are listed here.
Edit Subscription Request/Disable auto approval request
13 | Edit active subscription request | Already granted subscription request can be edited | Check if HI types, types of visit and time period can be edited and saved by clicking on "Save Changes" button | Mandatory | Changes in Active subscription requested are saved
14 | Disable auto approval requests | Already granted auto approval policy can be disabled | Check, if already granted auto approval policy for health locker can be disabled by clickicking on "Disable" button. Post disble of auto - approval policy,locker request is received from health locker for each record. | Mandatory | Auto - approval policy can be disabled.
Link ABHA no to the ABHA address
15 | Link ABHA no to the ABHA address
15.1 | Link ABHA no to the ABHA address | Click on "Link ABHA Number" option provided beside "Self Declared" in home screen |  | Mandatory | In case ABHA no is not linked with ABHA address - "Link ABHA number" option should be provided.
15.2 |  | Enter 14-digit ABHA no |  | Mandatory | Enter 14-digit ABHA no
15.3 |  | Validate ABHA no via aadhar OTP / mobile OTP | Check that an individual is able to validate ABHA no via both aadhar OTP / mobile OTP | Mandatory | ABHA number is successfully validated by aadhar OTP / mobile OTP
15.4 |  | Resend OTP, if OTP is not received in 60 seconds | Check that resend OTP option is provided after 60 seconds for both aadhar OTP / mobile OTP | Mandatory | Resend OTP option is working
15.5 |  | Displaye message: "Congratulations! <Name> Your ABHA number is now linked to your existing ABHA address. ABHA number is visible on your profile." | Check that post OTP validation of ABHA no, message is displayed that ABHA no is successfully linked with the ABHA address and ABHA number is visible in profile. Also, ABHA number policy will supersede ABHA address. Hence, profile details will change as per ABHA number. In addition to this, "Self-Declared" status is changed to "KYC Verified" in home screen. | Mandatory | Post OTP validation - a) Message is displayed informing an individual that ABHA no is linked with ABHA address b) ABHA number is visible in profile / home screen c) Profile details are changed as per ABHA number. d) "Self-Declared" status is changed to "KYC verified" in profile / home screen
15.6 |  | Click on "Go back to home screen" tab to go back to profile | Check that after clicking on "Go back to home screen" tab, an individual is able to go back to home screen | Mandatory | Post clicking on "Go back to home screen" tab, an individual is able to go back to home screen
Edit Profile
17 | Edit profile for KYC verified profile
17.1 | Edit profile for KYC verified profiles | Update mobile number | Mobile OTP is received on updated mobile no. Post mobile OTP validation, mobile no is updated. | Mandatory | Post mobile OTP validation, mobile no is updated successfully.
17.3 |  | Update address | All fields of address such as address line 1, district, state and pin-code can be updated. | Mandatory | Fields such as address line 1, district, state and pin-code can be updated successfully.
18 | Edit profile for Self-Declared profile
18.1 | Edit profile for Self-Declared profile | Update Photo | Photo can be edited by an individul taking the picture from mobile camera / upload photo from gallery of the device | Mandatory | Photo is updated successfully
18.2 |  | Update Full Name | Update First Name, Middle name and Last Name | Mandatory | Name is updated successfully
18.3 |  | Update Gender | Update Gender | Mandatory | Gender is updated successfully
18.4 |  | Update DoB | Update Day, Month and Year | Mandatory | DoB is update successfully
18.5 |  | Update Mobile No | Mobile OTP is received on updated mobile no. Post mobile OTP validation, mobile no is updated. | Mandatory | Post mobile OTP validation, mobile no is updated successfully.
18.7 |  | Update Address | All fields of address such as address line 1, district, state and pin-code can be updated. | Mandatory | Fields such as address line 1, district, state and pin-code can be updated successfully.
Deep Link flow
19 | Deep Link flow
19.1 | Deep Link Flow: Send SMS to patient mobile to initiate record linking and fetching in PHR app | In case patient visits the health facility and do not provide the ABHA address for linking of health records. Then, ABDM compliant health facility will notify ABDM when there is a new health record created of the patient. ABDM will send a deep link SMS is to the patient's mobile for fetching and viewing records in PHR app using User Initiated Linking Flow (Discovery Flow) | Patient visits a health facility and registers by providing Name, DoB, Gender and Mobile. Patient does not share any ABHA Address with the facility. | Mandatory | Patient registers and create health record at facility but do not provide ABHA address for linking of records with ABHA address.
19.2 |  |  | If the Health Facility is participating in ABDM, then it will notify ABDM when there is a new health record for this patient. Only the mobile number and the ID of the facility is notified. Facilities are identified by the facility’s HIPCODE. This can be obtained by registering the facility using the Health Facility Registry and linking the facility to a ABDM approved Health Repository Provider Software. | Mandatory | Health Facility is participating in ABDM, then it will notify ABDM when there is a new health record for this patient.
19.3 |  |  | ABDM will send an SMS to the user with a deep link as shown below: Dear Madam/Sir, <facility name> is now participating in Ayushman Bharat Digital Mission (ABDM). Your report at this facility is now ready. See your record by clicking on on phr.abdm.gov.in/uhi/<hipcode> ABDM,NHA | Mandatory | ABDM will send SMS to patient along with the deep link, if health record is created but not linked with ABHA address
19.4 |  |  | Clicking on the link will show the list of all ABDM compliant PHR applications. | Mandatory | Post patient click on the deep link ABDM compliant PHR apps such as ABHA, Dreifcase, Raxa, Eka Care, Pay TM, Arogya Setu, etc. Going forward, other PHR app's will also add up to this list. User can select any one of the PHR app of his/her choice.
19.5 |  | Post clicking on deep link by patient: Use Case 1: In case ABDM compliant PHR application is not installed in PHR app, then user is redirected to download and install it from play store/app store. | Check that, if no ABDM compliant PHR application is installed in phone - Navigate patient to play store / app store to install the selected PHR application from the list of all ABDM compliant PHR applications. | Mandatory | Install the selected PHR app successfully from the list.
19.6 |  |  | Check that, post installing the PHR app. New user is able to create the ABHA address and Password by providing basic details such as Nmae, DoB, Gender Mobile No, Address | Mandatory | New user is able to create ABHA address and Password by any of the three registration flows (Registration via ABHA no, Registration via Mobile No, Registration via Email ID)
19.7 |  | Post clicking on deep link by patient: Use Case 2: In case ABDM compliant PHR application is already installed in PHR app, then app will directly launch and initiate the User Initiated Linking (Discovery Flow) | Check that selected PHR app from the list of all ABDM compliant PHR app's is launched successfully. | Mandatory | Launch the selected PHR app from the list
19.8 |  |  | Check that post launch, PHR app initiates the discovery request with HIP where patient health records were created | Mandatory | Read above point 1 - (1.1 to 1.11) and check that record is fetched and viewed using User initiated linking (Discovery Flow)
QR-Code
20 | Scan and Share |  |  | Mandatory
| Scan QR Code at the ABDM compliant health facility to get token number for better queue management and completing faster patient registration. | Use Case 1: Patient can scan the QR Code using any PHR app such as ABHA mobile app | Check that, patient is able to login to any PHR app such as ABHA mobile app. | Mandatory | Patient is able to login in PHR app by any one of the mode (Login via mobile no, login via email ID, login via ABHA number, login via ABHA address)
|  |  | Check that patient is able to click on "QR Code icon" and scan the QR Code at ABDM compliant health facility. | Mandatory | Post successful login in PHR app, patient is able to scan the QR Code at ABDM compliant health facility.
|  |  | Check that, post clicking on share button, patient profile details are successfully shared to the HMIS side with consent of the patient. | Mandatory | Patient profile details such as ABHA number, ABHA address, Name, Date of Birth, Gender, Mobile No and Address are successfully shared at the HMIS side
|  |  |  | Mandatory | By sharing the profile details, patient has given the consent for registration and linking of health records and consent statement needs to be displayed before sharing of patient profile details to the HMIS side of the hospital.
|  |  | Check thatnotification is displayed for patient to know that profile details are successfully shared with the hospital and token number is also displayed. | Mandatory | Display below notification in app: Successfully shared your details with <Hospiatal Name>. Your token number is <>
|  |  | Check that post click on "OK" button, token number is displayed and it is valid for next 30 minutes. This time duration is configurable. | Mandatory | Display token number for valid configurable set time duration.
|  | Use Case 2: Scan the QR Code through third party scanner / phone camera. A) ABDM compliant PHR application is already installed in patient's mobile and patient is already logged on in the PHR app: | Check that, QR Code is scanned using phone camera or any 3rd party QR scanner | Mandatory | Patient is able to scan the QR Code at the ABDM compliant health facility using third party scanner / phone camera.
|  |  | Check that installed ABDM Compliant PHR apps and browser is displayed. Patient can click on chrome browser to open the user initiated deep link web page to see the complete listing of ABDM compliant PHR apps. | Mandatory | Check that, post scanning the QR code with the third party scanner / phone camera, display installed ABDM compliant PHR apps and browser
|  |  |  | Mandatory | Check that post clicking on browser, display the list of all ABDM compliant PHR apps. Patient can choose any one of the PHR app and click on it. If the selected PHR app is not installed in mobile device, then patient is redirected to play store / app store to install the app or if the selected PHR app is already installed then patient can login and share profile to get token no.
|  |  | Check that post clicking on any one of the PHR apps, patient is redirected to share profile page of PHR app as patient is logged-in to the PHR app | Mandatory | In this case, patient is already looged-in, so patient is redirected to share profile page of PHR app
|  |  | Check that post clicking on share button, patient profile details are successfully shared to the HMIS side with consent of the patient. | Mandatory | Patient profile details such as ABHA number, ABHA address, Name, Date of Birth, Gender, Mobile No and Address are successfully shared at the HMIS side
|  |  |  | Mandatory | By sharing the profile details, patient has given the consent for registration and linking of health records and consent statement needs to be displayed in the PHR app, before sharing of patient profile details to the HMIS side of the hospital.
|  |  | Check that notification is displayed, that the profile details are shared with the hospital and token number is also displayed. | Mandatory | Display below notification in app: Successfully shared your details with <Hospiatal Name>. Your token number is <>
|  |  | Check that post click on "OK" button, token number is displayed and it is valid for next 30 minutes. This time duration is configurable. | Mandatory | Display token number for valid configurable set time duration.
|  | Use Case 2: Scan the QR Code through third party scanner / phone camera. B) ABDM compliant PHR application is already installed in patient's mobile but patient is not logged on in the PHR app: | Check QR Code can be scanned using phone camera or any 3rd party QR scanner | Mandatory | Patient is able to scan the QR Code at the ABDM compliant health facility using third party scanner / phone camera.
|  |  | Check that installed ABDM Compliant PHR apps and browser is displayed. Patient can click on chrome browser to open the user initiated deep link web page to see the complete listing of ABDM compliant PHR apps. | Mandatory | Check that post scanning the QR code with the third party scanner / phone camera, display installed ABDM compliant PHR apps and browser
|  |  |  | Mandatory | Check that post clicking on browser, display the list of all ABDM compliant PHR apps. Patient can choose any one of the PHR app and click on it. If the selected PHR app is not installed in mobile device, then patient is redirected to play store / app store to install the app or if the selected PHR app is already installed then patient can login and share profile to get token no.
|  |  | Post clicking on any one of the PHR apps, patient is redirected to login page of PHR app as patient is not logged-in to the PHR app | Mandatory | In this case, patient is not looged-in, so patient needs to login into the PHR app via any one of the modes (Login via mobile no, login via email ID, login via ABHA number, login via ABHA address)
|  |  | Check that post successful login, patient is redirected to share profile page of PHR app | Mandatory | Patient is redirected to share profile page of PHR app
|  |  | Check that post clicking on share button, patient profile details are successfully shared to the HMIS side with consent of the patient. | Mandatory | Patient profile details such as ABHA number, ABHA address, Name, Date of Birth, Gender, Mobile No and Address are successfully shared at the HMIS side
20.1 |  |  |  | Mandatory | By sharing the profile details, patient has given the consent for registration and linking of health records and consent statement needs to be displayed in the PHR app, before sharing of patient profile details to the HMIS side of the hospital.
|  |  | Check that notification is displayed, that the profile details are shared with the hospital and token number is also displayed. | Mandatory | Display below notification in app: Successfully shared your details with <Hospiatal Name>. Your token number is <>
|  |  | Check that post click on "OK" button, token number is displayed and it is valid for next 30 minutes. This time duration is configurable. | Mandatory | Display token number for valid configurable set time duration.
|  | Use Case 2: Scan the QR Code through third party scanner / phone camera. C) No ABDM compliant PHR application is installed in patient's mobile device. | Check that QR Code can be scanned using phone camera or any 3rd party QR scanner | Mandatory | Patient is able to scan the QR Code at the ABDM compliant health facility using third party scanner / phone camera.
|  |  | Check that User Initiated Deep Link Web Page opens, and patient can see the complete listing of ABDM compliant PHR apps. | Mandatory | Display list of all ABDM compliant PHR apps (randomly) and patient can select any one of them which he/she wishes to install in mobile device.
|  |  | Check that once patient selects any one of the PHR app, he/she is redirected to Google Play Store / app store to download / install the selected mobile PHR app | Mandatory | Patient is redirected to Google Play Store / app store to download / install the selected mobile PHR app
|  |  | Check that, selected PHR app is launched after installation and patient will create ABHA address and password | Mandatory | Post installation, PHR app is launched.
Note on E16: ====== ID#AAAAUbmUuWM (2022-01-21 07:15:27) Attachment cannot be mandatory. -Neha Parnami
Note on E37: ====== ID#AAAAUbmUuWA (2022-01-21 07:15:27) message is received, working in both Sandbox and Prod -Neha Parnami
Note on E58: ====== ID#AAAAUbmUuWI (2022-01-21 07:15:27) No notification via msg, just a msg on the screen as the moment -Neha Parnami

## Building HIU Service for PHR
S. No | Test Title | Test Scenario | Test Summary / Steps | Optional / Mandatory | Expected Result
1 | HIU creates and sends subscription request, auto approval policy and consent request to PHR app
1.1 | Subscription Request
1.1.1 | Subscription Request receives in the PHR app | HIU (Hospital) creates the "Subscription Request" and send it to the PHR app, alongwith the auto approval policy | Check, PHR app receives notification stating that subscription request is received from HIU in the PHR app | Mandatory | Notification is received in the PHR app
|  |  | Check, Subscription Request is received in the "Requests" tab of the PHR app | Mandatory | Subscription requests is received in the PHR app
1.1.2 | "Grant" subscription request | Patient grant subscription request received in "Request" tab of the PHR app. | Check, that after subscription request is granted by the patient - It is shown in "Granted" section of "Approved" tab in the PHR app | Mandatory | Notification is sent to HIU for creation of health record
|  |  | Check, patient is able to set "HI type", "type of visit" and "time period" while granting subscription request | Mandatory | Subscription is provided to the HIU for selected "HI type", "type of visit" and "time period"
1.1.3 | "Deny" subscription request | Patient deny subscription request received in the PHR app | Check, that after subscription request is denied by the patient - It is shown in "Denied" section of "Requests" tab in the PHR app | Mandatory | No more notification is sent to HIU requesting health record from patient
1.1.4 | "Expired" subscription request | Patient do not take action on the subscription requests received in the PHR app and it gets expired | Check, that after subscription request is expired - It is shown in "Expired" section of "Requests" tab in the PHR app. Subscription request get expires in 2 hours | Mandatory | Subscription request is expired in 2 hours if no action (grant/deny) is taken by patient
|  | Patient take action on the subscription requests received in the PHR app - Grant subscription request. | Check, that subscription request get expires after set "time period" while granting it is over | Mandatory | Subsciption is provided to HIU for set "time period" only
| "Edit" subscription request | Before grant of subscription request, patient can edit active subscription request by deselecting the check boxes against HI types, types of visit and time period and save these changes
1.1.5 |  | After grant of subscription request, patient can edit active subscription request by deselecting the check boxes against HI types, types of visit and time period and save these changes | Check if HI types, types of visit and time period can be edited | Mandatory | After editing active subscription request and saving changes - Subscription is provided to the HIU for selected "HI type", "type of visit" and "time period" only
1.2 | Auto approval policy |  |  | Mandatory
1.2.1 | Set up auto approval policy - Enabled | Auto approval policy is set up during grant of subscription request | Check, If auto approval policy is set up then, consent request get auto grant whenever new record is created at HIP | Mandatory | Patient do not have to manually approve consent request received from HIU for seamless patient experience
|  |  |  | Mandatory | Notification is sent to HIU whenever new record is created at HIP.
|  |  | Check, even if auto approval policy is set up. Consent request is seen in PHR app but patient do not have to manually approve it. | Mandatory | History of all types of request received and action taken on it are seen in PHR app
1.2.2 | Didn't set up auto approval policy | Auto approval policy is not set up during grant of subscription request | If auto approval policy is not set up, then consent request is sent to PHR app and it needs to be manually approved everytime whenever new record is created at HIP | Mandatory | Consent request is received in PHR app, whenever new record is created in HIP and record can be shared only if patient grant consent request
1.2.3 | "Disabled" auto approval policy | Patient can disable the auto approval poilcy after enabling it during subscription request | If auto approval policy is disabled, then consent request needs to be manually approved everytime whenever new record is created at HIP | Mandatory | Auto approval of consent request should stop immediately and Consent request is received in PHR app, whenever new record is created in HIP. Record can be shared only if patient grant consent request
1.3 | Consent Request |  |  | Mandatory
1.3.1 | Notification is sent to hospital HIU | If HIP has added new health record and patient has approved the subscription request, then Hospital HIU will be notified | Check, if notification is received by Hospital HIU whenever new record is created at HIP | Mandatory | Notification is sent to Hospital HIU whenever new record is created at HIP.
1.3.2 | Notification is sent to PHR app | If HIU creates consent request, CM notifies the patient in the PHR app, that a HIU has made a consent request | Check, if the patient can view the consent request details in the "Requests" tab of PHR app and choose to grant / deny consent. | Mandatory | Notification is sent to PHR app after HIU creates consent request
1.4 | Types of Request (Approved / Denied / Expired / Revoked) |  |  | Mandatory
1.4.1 | Approved: HIU should be able to view the health data of a APPROVED consent request | HIU can view health data for approved/granted consent request | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. | Mandatory | HIU can fetch and view health data for the approved/granted consent request
|  |  | HIU user should be able to view the health data for the GRANTED consent request. | Mandatory
1.4.2 | Denied: HIU should not be able to view the health data of a DENIED consent request | HIU cannot view health data for approved consent request | Check whether HIU user is not able to fetch health data for the consent request created and DENIED by the patient | Mandatory | HIU cannot fetch health data for the approved consent request
1.4.3 | Expired : HIU should not be able to view the health data of a EXPIRED consent request | HIU cannot view health data for expired consent request or on which patient has not acted upon | Check whether HIU user is not able to view the health data for the consent request created for a patient that has crossed the CONSENT EXPIRY DATE | Mandatory | HIU cannot fetch health data for the Expired/not acted upon consent requests
|  |  | Check whether HIU user is not able to view the health data for the consent request for a patient which is not being acted by the patient | Mandatory
1.4.4 | Revoked: HIU should not be able to view the health data of a REVOKED consent request | HIU cannot view health data for revoked consent request | Check whether HIU user is not able to view the health data for the consent request created for a patient which was APPROVED and later REVOKED | Mandatory | HIU cannot fetch health data for the revoked consent request
1.5 | Fetching the consent artefact by the HIU |  |  | Mandatory
1.5.1 | Fetching the consent artefact by the HIU | If the patient grants consent for multiple HIPs, then multiple consent artefacts are generated - one for each HIP. | The HIU now first fetches all the consent-artefacts that were generated for its request. | Mandatory | Correct health record should be seen against each HIP

## Locker
S. No | Test Title | Test Summary | Optional / Mandatory | Test Scenario | Expected Result
1 | Discovery & add health locker
1.1 | Discovery & add health locker Linking locker with existing Health ID (PHR address) | 1. Login into PHR app | Optional | Linking locker with an existing health id. | Locker will be linked with the health id. A consent request will be sent to the PHR app for linking.
2. Click on user profile and click on health locker.
3. Search for health locker and add.
4. It will take you to the "selected locker provider" for setting up the locker and registration / Login in locker
2 | Set up a Health Locker through PHR app
2.1 | Linking Health ID with existing locker | 1. Login into the driefcase health locker. | Mandatory | Linking the Health ID with an existing Locker | Consent Notification will be sent to PHR app for confirming the Health ID. Token will be received which is a long term linking token and can be used multiple times. Locker will be linked with the health id.
2. Click on health id tab and enter the health id and search it.
3. Locker created an auth request and a subscription request.
A Locker setup request will be sent to the PHR app upon valid health id verification.
4. Grant the Locker setup request (Combination of Auth and subscription request , along with which an auto approval policy can be setup ) on PHR app for sharing the data onto patient registration screen.
5. It involves setting the subscription, setting authentication-long term token and setting the auto approval.
3 | Fetching of health record from HIP to Locker
3.1 | Notification is sent from HIP to locker | Fetch records basis care context Locker gets notified when new health record is availaible to Health ID (PHR address) | Mandatory | Check - Whenever record is created in HIP, notification is received in Locker | Notification is received in locker.
3.2 | Locker Consent request is received in PHR app and SMS is also sent from locker to users mobile | Fetch records by raising fresh consent – creating a consent request Locker creates a consent request for getting a new record, and consent request is received in PHR app | Mandatory | Fetching records into health locker by creating consent request and approving the same in PHR app | Records will be fetched into health locker once user approves the request
3.3 | The consent request is auto approved based on the policy | Auto consent at the time of registration to enable auto pulling of future records | Mandatory | Auto consent request at the time of locker linking so that records are auto pulled for future records | Records will be auto fetched whenever new records will be available
3.4 | Grant consent received in "Request" list, of PHR app, so that locker can view health records from all linked PHR accounts | A consent request needs to be granted under request tab in PHR | Mandatory | Request needs to be granted under request in PHR | User can view records in healthlocker upon approval of consent
3.5
3.6 | Once locker has the consent, it can fetch data from respective HIP | Records can be viewed in locker from HIP's | Mandatory | Records will be fetched into the health locker from HIP's once consent is set | Records from HIP's will be visible in locker
3.7 | After getting the record for a care context, the locker links it to CM | Care context will be created once records are fetched into locker from HIP | Mandatory | Care context will be created once records are fetched into locker from PHR | Care context will be visible in PHR
3.8 | View health record received from HIP to locker | Records can be viewed in locker | Mandatory | Records will be visible in locker after fetching | Records can be viewed in locker once fetched
4 | Upload document in health locker through PHR app
4 | User pushes health record to health locker by uploading the scanned reports through clicking on "Upload" icon in PHR app | User uploads the health records in locker through PHR by clicking on upload | Mandatory | User uploads records into locker through PHR upload option | Records will be uploaded
4.1 | Upload Document Fields | Upload Document Fields - 1 - Document File (PDF / Image) 2- Doctor Name 3- Hospital Name or Facility Name - (Hospital/Docter Name/Lab etc) 4- Document Type (e.g., Prescription, Report, Discharge Summary,Other ) 5 - Document Date | Mandatory | Mandatory
4.2 | Processing of the uploaded document in the health locker, to find that uploaded document is health record or not | Records goes into in process state once uploaded for validation | Mandatory | Locker will check if it’s a health document and will process if its health doc only | Process will be done at locker level
4.3 | Locker stores the record against care context | Records are stored againt each care context | Mandatory | Health records are stored againt care context | Records will be stored
4.4 | Link the uploaded document to Health ID (PHR address) by linking the care context on CM - HIP initiated linking | Ensure that the care context is added when user provide consent | Mandatory | Document can be linked to health and care context will be created | Care context will be added
4.5 | After document is linked to Health ID (PHR address), the locker is displayed in the "Providers" tab of PHR app | Locker will be displayed in the PHR app once linked to health id | Mandatory | Locker will be visible in PHR once linked | Locker will be created in PHR
4.6 | Click on "Get Data" to fetch the record in the "Records" tab of PHR app | User can fetch data by clicking on get data | Mandatory | Records can be fetched when user clicks on get data tab of PHR | Records will be fetched
4.7 | Click on the record received in the "Records" tab of PHR app - to see record details and open the attachment to view patient record | Attachments in records can be opened to view patient details | Mandatory | View patient record by clicking on the attachments | Records will be viewed from attachments
5 | Managing locker requests - Locker raises a subscription request/authorization request and create an auto approval policy
5.1 | Subscription Request - Getting to know about new health record
5.1.1 | Locker / HIU will raise a request to subscribe to notifications for patient records | Check if consent request is sent to PHR for every new health record generated(if auto approval policy is not setup) | Mandatory | Subscription request is raised by the locker during set up | Subscription request will be set up
5.1.2 | Patient will approve the subscription request in PHR app | Check if patient is able to grant or deny the consent | Mandatory | Request will be approved by the user in PHR | Request will be visible in PHR under request tab
5.1.3 | Locker will be notified whenever there is new data / care context available for the patient | Check, if notification is received in locker | Mandatory | Alert notification is received in locker | Alert notification is received in locker
5.1.4 | On notification, locker will fetch the new record (There may be a need to create a new consent request) | Check if record is fetched from HIP after consent is granted by user in PHR | Mandatory | Records can be fetched once consent is granted | Records will be fetched
5.2 | Auto approval policy - Simplifying user experience for consents
5.2.1 | Based on the subscription (if approved), user can choose to create an auto approval policy | User can choose for auto approval of requests | Mandatory | Auto approval can be opted during locker set up | Consents will be auto approved
5.2.2 | If a consent request is within the bounds of the policy, it will be automatically approved | Consents are auto approved if under policy | Mandatory | Auto approval is there under policy set up | Consents will be auto approved
5.2.3 | Disable auto approval policy | Check if auto approval policy is disabled, then consent request should be manually approved whenever new record is notified. | Mandatory | Auto approval can be disabled during locker setup | Consents needs to be manually approved
5.3 | Authorization Request - Letting the consent manager know Locker has records
5.3.1 | Locker/HIP will raise a direct auth request | Locker will send consent request for approval | Mandatory | Locker sends consent request for authorization | Consent request will be there under request tab in PHR
5.3.2 | User will have to approve it | User will approve consent request | Mandatory | Consent request needs to be approved by user | Request will be seen in PHR
5.3.3 | Locker/HIP will get a linking token (as in the case on HIP initiated linking) | A linking token is received in HIP/locker initiated linking | Mandatory | HIP/locker initiated linking has a linking token initiated | Linking token can be checked
5.3.4 | In case of locker, this token can be used to link multiple care context | User can create multiple care context with a linking token | Mandatory | Multiple care context can be linked with one linking token for locker | Multiple care context
6 | Viewing Consent Request
6.1 | Viewing list of Consent Requests in "Requests" tab of PHR app | User can see 3 categories of consent request under request tab | Mandatory | User can view the categories of consents under request tab in PHR | Types of consents visible
6.1.1 | 1) Requested - Not yet any action is taken by user on "Consent Requests" | On which on action is taken as yet by user under request | Mandatory | User needs to act upon these consent under requested | To act upon requests under requested
6.1.2 | 2) Denied - User have "Denied" received consent request | Requests denied by the user | Mandatory | Denied requests are denied by the user | Rejected requests
6.1.3 | 3) Expired - Consent Requests is expired | Requests expired | Mandatory | List of expired consents | Expired requests
7 | Viewing list of Consent Requests in the "Approved" tab of PHR app
7.1.1 | 1) Granted | Consent granted by user | Mandatory | Granted consent by the user | Granted
7.1.2 | 2) Expired | Consent expired | Mandatory | Expired consent | Expired
8 | Edit active subscription request | User can edit the subscription request(HI type,Type of visit, time duration) | Mandatory | Subscription request can be edited by the user | Request will be edited
9 | Disable auto approval requests | Check if auto approval policy is disabled, then consent request should be manually approved whenever new record is notified. | Mandatory | User needs to approve consents everytime if auto approved is disabled | Needs manual approval
10 | Types of Consent in Health Locker
10.1 | Approved: HIU should be able to view the health data of a APPROVED consent request | HIU (Doctor) should be able to view the health data post granting approval of consent request by the user in the PHR Application | Mandatory | HIU should be able to view the health data of a APPROVED consent request | HIU user should be able to view the health data for the GRANTED consent request.
10.2 | Denied: HIU should not be able to view the health data of a DENIED consent request | Check if the HIU (Doctor) is able to view the denied consent request | Mandatory | Check whether HIU user is not able to fetch health data for the consent request created and DENIED by the patient | HIU user should not be able to view the health data for the DENIED consent request.
HIU (Doctor) should not be able to view the health data of a DENIED consent request
10.3 | Expired : HIU should not be able to view the health data of a EXPIRED consent request | Check whether HIU user is not able to view the health data for the consent request created for a patient that has crossed the CONSENT EXPIRY DATE | Mandatory | Check whether HIU user is not able to fetch health data for the consent request created and EXPIRED/NOT ACTED UPON | HIU user should not be able to view the health data for the EXPIRED/NOT ACTED UPON consent request.
Check whether HIU user is not able to view the health data for the consent request for a patient which is not being acted by the patient
10.4 | Revoked: HIU should not be able to view the health data of a REVOKED consent request | Check whether HIU user is not able to view the health data for the consent request created for a patient which was APPROVED and later REVOKED | Mandatory | Check whether HIU user is not able to fetch health data for the consent request first approved and later REVOKED by the patient | HIU user should not be able to view the health data for the REVOKED consent request.
10.5 | Auto Approval | HIU (Locker) should be able to view the health data of a AUTOAPPROVED consent request | Mandatory | Check whether HIU user is able to fetch the health data created in future for the consent request created for a patient which was AUTOAPPROVED by the patient | HIU user should be able to fetch the health data for the AUTO APPROVED consent request,
Check whether HIU (Locker) user is able to fetch the health data created in future for the consent request created for a patient which was AUTOAPPROVED by the patient
HIU (Locker) user should be able to fetch the health data for the AUTO APPROVED consent request,
11 | HIU receives record only if consent request is approved in PHR app
11 | HIU should be able to view the health data of a APPROVED consent request | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DiagnostocReport Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DiagnostocReport Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DiagnostocReport Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DiagnostocReport Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Prescription-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Prescription-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Prescription-Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Prescription-Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DischargeSummary-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DischargeSummary-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DischargeSummary-Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = DischargeSummary-Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = CosultingNote-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = ConsultingNote-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | "Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = CosultingNote-Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = ConsultingNote-Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Immunization record-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = ImmunizationRecord-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Immunization record-Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = ImmunizationRecord-Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Wellness Record-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Wellness Record-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Wellness Record-Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Wellness Record-Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Health Record-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Health Record-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
|  | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Health Record-Un-Structured) | Mandatory | Check whether HIU user is able to fetch health data for the consent request created for a patient and APPROVED by the patient. (HI Type = Health Record-Un-Structured) | HIU user should be able to view the health data of selected HI type from PHR app or HIU application.
Note on D3: ====== ID#AAAAUbmUuV8 (2022-01-21 07:15:27) Good to have flow, not mandatory -Neha Parnami